## Analyses (Samples)
Analysis_ID | Sample_Type | Sample_Id | Replicate_No | Sample_Amount | Sample_Amount_Unit | ISTD_Mixture_Volume_[uL] | Batch_ID | Valid_Analysis | Specimen | Method_Id | Remarks | Data_Source | Merge_Status
SBLK1 | SBLK |  | 1 | 250 | uL | 50 | 1 | TRUE | Serum
SBLK2 | SBLK |  | 1 | 250 | uL | 50 | 1 | TRUE | Serum
UBLK | SBLK |  | 1 | 250 | uL | 50 | 1 | TRUE | Serum
Cal0 | PBLK | CAL-0 | 1 | 250 | uL | 50 | 1 | TRUE | Serum
CalA | CAL | CAL-A | 1 | 250 | uL | 50 | 1 | TRUE | Serum
CalB | CAL | CAL-B | 1 | 250 | uL | 50 | 1 | TRUE | Serum
CalC | CAL | CAL-C | 1 | 250 | uL | 50 | 1 | TRUE | Serum
CalD | CAL | CAL-D | 1 | 250 | uL | 50 | 1 | TRUE | Serum
CalE | CAL | CAL-E | 1 | 250 | uL | 50 | 1 | TRUE | Serum
CalF | CAL | CAL-F | 1 | 250 | uL | 50 | 1 | TRUE | Serum
InstBLK | IBLK |  | 1 | 250 | uL | 50 | 1 | TRUE | Serum
QC_High_1 | HQC | HQC | 1 | 250 | uL | 50 | 1 | TRUE | Serum
QC_High_2 | HQC | HQC | 1 | 250 | uL | 50 | 1 | TRUE | Serum
QC_High_3 | HQC | HQC | 1 | 250 | uL | 50 | 1 | TRUE | Serum
QC_High_4 | HQC | HQC | 1 | 250 | uL | 50 | 1 | TRUE | Serum
QC_High_5 | HQC | HQC | 1 | 250 | uL | 50 | 1 | TRUE | Serum
QC_Low_1 | LQC | LQC | 1 | 250 | uL | 50 | 1 | TRUE | Serum
QC_Low_2 | LQC | LQC | 1 | 250 | uL | 50 | 1 | TRUE | Serum
QC_Low_3 | LQC | LQC | 1 | 250 | uL | 50 | 1 | TRUE | Serum
QC_Low_4 | LQC | LQC | 1 | 250 | uL | 50 | 1 | TRUE | Serum
QC_Low_5 | LQC | LQC | 1 | 250 | uL | 50 | 1 | TRUE | Serum
SPL1 | SPL |  | 1 | 250 | uL | 50 | 1 | TRUE | Serum
SPL2 | SPL |  | 1 | 250 | uL | 50 | 1 | TRUE | Serum
SPL3 | SPL |  | 1 | 250 | uL | 50 | 1 | TRUE | Serum
SPL4 | SPL |  | 1 | 250 | uL | 50 | 1 | TRUE | Serum
Assuming the analyte and the selected ISTD have identical response factors, the concentration of an analyte in the sample can be calculated as:
where:
cAnalyte: Molar [M or µmol/µL] concentration of the analyte in the sample
AreaAnalyte: Peak area of Analyte,
AreaISTD: Peak area of ISTD,
VISTD mix: Extraction solvent volume (ISTD mixture)
Sample_Amount: Quantity of the sample (e.g. µL or mg)
cISTD: Concentration of the ISTD in the extraction solvent (ISTD mixture)
Assuming the analyte and the selected ISTD have identical response factors, the concentration of an analyte in the sample can be calculated as:
𝑐_Analyte=〖𝐴𝑟𝑒𝑎〗_Analyte/〖𝐴𝑟𝑒𝑎〗_ISTD × 𝑉_(ISTD mix)/(𝑆𝑎𝑚𝑝𝑙𝑒 𝐴𝑚𝑜𝑢𝑛𝑡 ) ×𝑐_𝐼𝑆𝑇𝐷
where:
cAnalyte: Molar [M or µmol/µL] concentration of the analyte in the sample
AreaAnalyte: Peak area of Analyte,
AreaISTD: Peak area of ISTD,
VISTD mix: Extraction solvent volume (ISTD mixture)
Sample_Amount: Quantity of the sample (e.g. µL or mg)
cISTD: Concentration of the ISTD in the extraction solvent (ISTD mixture)
Note on A1: Unique identifier for the analysis results (one run/sample)

## Features (Analytes)
Feature_ID | ISTD_Feature_ID | Feature_Class | Analyte_Id | Feature_Label | Response_Factor | Quantifier | Valid_Integration | Interference_Feature_ID | Interference_Proportion | Curve_Fit_Model | Curve_Fit_Weighting | Remarks
Corticosterone | Corticosterone 13C3 (ISTD) | Mineralocorticoid | Corticosterone |  | 1 | TRUE | TRUE |  |  | quadratic | 1/x
Corticosterone [QUAL 347.3 -> 329.3] | Corticosterone 13C3 (ISTD) [QUAL 350.2 -> 332.2] | Mineralocorticoid | Corticosterone |  | 1 | FALSE | TRUE |  |  | linear | 1/x
Corticosterone 13C3 (ISTD) | Corticosterone 13C3 (ISTD) | Mineralocorticoid | Corticosterone 13C3 (ISTD) |  | 1 | TRUE | TRUE |  |  | quadratic | 1/x
Corticosterone 13C3 (ISTD) [QUAL 350.2 -> 332.2] | Corticosterone 13C3 (ISTD) [QUAL 350.2 -> 332.2] | Mineralocorticoid | Corticosterone 13C3 (ISTD) |  | 1 | FALSE | TRUE |  |  | linear | 1/x
Aldosterone | Aldosterone D4 (ISTD) | Androstane | Aldosterone |  | 1 | TRUE | TRUE |  |  | quadratic | 1/x
Aldosterone [QUAL 361.2 -> 343.1] | Aldosterone D4 (ISTD) [QUAL 365.2 -> 347.2] | Androstane | Aldosterone |  | 1 | FALSE | TRUE |  |  | linear | 1/x
Aldosterone D4 (ISTD) | Aldosterone D4 (ISTD) | Androstane | Aldosterone D4 (ISTD) |  | 1 | TRUE | TRUE |  |  | quadratic | 1/x
Aldosterone D4 (ISTD) [QUAL 365.2 -> 347.2] | Aldosterone D4 (ISTD) [QUAL 365.2 -> 347.2] | Androstane | Aldosterone D4 (ISTD) |  | 1 | FALSE | TRUE |  |  | linear | 1/x
Cortisone | Cortisone 13C3 (ISTD) | Glucocorticoids | Cortisone |  | 1 | TRUE | TRUE |  |  | quadratic | 1/x
Cortisone [QUAL 361.2 -> 121.1] | Cortisone 13C3 (ISTD) [QUAL 364.1 -> 105.1] | Glucocorticoids | Cortisone |  | 1 | FALSE | TRUE |  |  | linear | 1/x
Cortisone 13C3 (ISTD) | Cortisone 13C3 (ISTD) | Glucocorticoids | Cortisone 13C3 (ISTD) |  | 1 | TRUE | TRUE |  |  | quadratic | 1/x
Cortisone 13C3 (ISTD) [QUAL 364.1 -> 105.1] | Cortisone 13C3 (ISTD) [QUAL 364.1 -> 105.1] | Glucocorticoids | Cortisone 13C3 (ISTD) |  | 1 | FALSE | TRUE |  |  | linear | 1/x
Cortisol | Cortisol D4 (ISTD) | Glucocorticoids | Cortisol |  | 1 | TRUE | TRUE |  |  | quadratic | 1/x
Cortisol [QUAL 363.2 -> 97.1] | Cortisol D4 (ISTD) [QUAL 367.2 -> 77.1] | Glucocorticoids | Cortisol |  | 1 | FALSE | TRUE |  |  | linear | 1/x
Cortisol D4 (ISTD) | Cortisol D4 (ISTD) | Glucocorticoids | Cortisol D4 (ISTD) |  | 1 | TRUE | TRUE |  |  | quadratic | 1/x
Cortisol D4 (ISTD) [QUAL 367.2 -> 77.1] | Cortisol D4 (ISTD) [QUAL 367.2 -> 77.1] | Glucocorticoids | Cortisol D4 (ISTD) |  | 1 | FALSE | TRUE |  |  | linear | 1/x

## Internal Standards
ISTD_Feature_ID | ISTD_Conc_[nM] | <== | ISTD_Conc_[ng/mL] | ISTD_[MW] | [uM] or [pmol/uL]
Aldosterone D4 (ISTD) | 8.31
Aldosterone D4 (ISTD) [QUAL 365.2 -> 347.2] | 8.31
Corticosterone 13C3 (ISTD) | 14.4
Corticosterone 13C3 (ISTD) [QUAL 350.2 -> 332.2] | 14.4
Cortisol D4 (ISTD) | 69
Cortisol D4 (ISTD) [QUAL 367.2 -> 77.1] | 69
Cortisone 13C3 (ISTD) | 13.9
Cortisone 13C3 (ISTD) [QUAL 364.1 -> 105.1] | 13.9

## Response Curves
Analysis_ID | Curve_ID | Analyzed_Amount | Analyzed_Amount_Unit | Data_Source
Description
- Analysis_ID Defines Analysis_ID of the response measurement, must be defined in the `Analyses (Samples)` table
- Curve_ID Defines the response curve series identifier, can be a number or text
- Sample_Amount Defines the measured sample amount, must be a number
- Sample_Amount_Unit Defines the unit of the value stated in the Sample_Amount column. Note: the first value will be used for data points

## QC Concentrations
Sample_Id | Analyte_Id | Concentration | Concentration_Unit | Include_In_Analysis
CAL-A | Aldosterone | 0.277 | nmol/L
CAL-B | Aldosterone | 0.609 | nmol/L
CAL-C | Aldosterone | 1.27 | nmol/L
CAL-D | Aldosterone | 2.74 | nmol/L
CAL-E | Aldosterone | 5.93 | nmol/L
CAL-F | Aldosterone | 12.7 | nmol/L
CAL-A | Corticosterone | 0.867 | nmol/L | FALSE
CAL-B | Corticosterone | 2.28 | nmol/L | FALSE
CAL-C | Corticosterone | 6.04 | nmol/L
CAL-D | Corticosterone | 16 | nmol/L
CAL-E | Corticosterone | 42.2 | nmol/L
CAL-F | Corticosterone | 111 | nmol/L | FALSE
CAL-A | Cortisol | 5.52 | nmol/L
CAL-B | Cortisol | 14.6 | nmol/L
CAL-C | Cortisol | 38.4 | nmol/L
CAL-D | Cortisol | 102 | nmol/L
CAL-E | Cortisol | 268 | nmol/L
CAL-F | Cortisol | 707 | nmol/L
CAL-A | Cortisone | 1.39 | nmol/L
CAL-B | Cortisone | 3.66 | nmol/L
CAL-C | Cortisone | 9.64 | nmol/L
CAL-D | Cortisone | 25.5 | nmol/L
CAL-E | Cortisone | 67.3 | nmol/L
CAL-F | Cortisone | 178 | nmol/L
HQC | Aldosterone | 9.74 | nmol/L
HQC | Corticosterone | 77.5 | nmol/L
HQC | Cortisol | 472 | nmol/L
HQC | Cortisone | 118.7 | nmol/L
LQC | Aldosterone | 0.911 | nmol/L
LQC | Corticosterone | 4.11 | nmol/L
LQC | Cortisol | 25.21 | nmol/L
LQC | Cortisone | 6.52 | nmol/L

## Instructions
Raw_Data_Filename | Mandatory field
Sample_Amount | Fields required for normalization, quantification and batch correction/visualization'
Feature_Class | Optional fields with annotations
Injection_Volume_[uL] | Internal/inactivated fields

## About
| About MiDAR MSOrganiser Template |  | Do not modify row 1 and 3
| Version | 0.2.3
| Last Update | 12.06.2025
This file is intended to be used as metadata template for the R package {MiDAR}
Get the newest version of this template from
https://github.com/SLINGhub/midar/tree/development/inst/extdata
| or via the MiDAR function | midar::save_metadata_msorganizer_template()
References
This template is a modified version of "MSTemplate_Creator", created by Jeremy John Selva
https://github.com/SLINGhub/MSTemplate_Creator
Version mumber changed to allow import, but some fields may not have been updated yet, but not needed

## Lists
Sample_Type | Group | Name | Description | Sample_Amount_Unit | Concentration_Unit | Factor | Dilution_Amount_Unit
SPL | Unknown | Study Sample | "Unknown" sample | cell number | [M] or [umol/uL] | 1e-09 | [%]
EQC | Equilibration | Equilibration QC | Verification of Instrumental Equilibration | mg dry weight | [mM] or [nmol/uL] | 1e-06 | [uL]
SST | Quality Assurance | Instrument Suitability Test | Instrument Suitability Test | mg fresh weight | [uM] or [pmol/uL] | 0.001
BQC | Quality Assurance | Batch QC | Process/Pooled QC | ng DNA | [nM] or [fmol/uL] | 1
TQC | Quality Control | Techincal QC | Instrumental QC (System Suitability) | ug total protein | [pM] or [amol/uL] | 1000
RQC | Quality Control | Response QC | Dilution series to check for linear response/saturation (e.g. TQC) | uL
LTR | Sample Reference Material | Long Term Reference Plasma (with ISTD) | Long Term Reference Plasma (with ISTD)
NIST | Sample Reference Material | NIST SRM1950 Reference Plasma (with ISTD) | NIST SRM1950 Reference Plasma (with ISTD)
SRM | Sample Reference Material | Sample Reference Material | Sample Reference Material
PBLK | Blanks | Process/Batch Blank | Processed or Extracted solvent/buffers with ISTD
UBLK | Blanks | Unextracted Blank (Solvent with ISTD) | Unextracted Blank (Solvent with ISTD)
SBLK | Blanks | Solvent Blank | Unextracted solvent used for extraction (e.g. used for Solvent with ISTD mixture)
MBLK | Blanks | Matrix Blank | Sample processed without ISTD to check for interference of endogenous compounds
STD | Standard | Standard Sample Type | Standard Sample Type
LQQ | Others | Lower Limit of Quantitation QC | Lower Limit of Quantitation QC
CTRL |  | Control Sample Type | Control Sample Type
LTRBK | Sample Reference Material | Long Term Reference Plasma (without ISTD) | Long Term Reference Plasma (without ISTD)
NISTBK | Sample Reference Material | NIST SRM1950 Reference Plasma (without ISTD) | NIST SRM1950 Reference Plasma (without ISTD)
Others
CAL | Quality Control | Calibration
QC | Quality Control
LQC
MQC
HQC
LOQC