## Analyses (Samples)
Raw_Data_Filename | Sample_Type | Sample_Amount | Sample_Amount_Unit | ISTD_Mixture_Volume_[uL] | Batch_ID | Valid_Analysis | Sample_Id | Replicate_No | Specimen | Method_Id | Remarks | Data_Source | Merge_Status
Assuming the analyte and the selected ISTD have identical response factors, the concentration of an analyte in the sample can be calculated as:
where:
cAnalyte: Molar [M or µmol/µL] concentration of the analyte in the sample
AreaAnalyte: Peak area of Analyte,
AreaISTD: Peak area of ISTD,
VISTD mix: Extraction solvent volume (ISTD mixture)
Sample_Amount: Quantity of the sample (e.g. µL or mg)
cISTD: Concentration of the ISTD in the extraction solvent (ISTD mixture)
Assuming the analyte and the selected ISTD have identical response factors, the concentration of an analyte in the sample can be calculated as:
𝑐_Analyte=〖𝐴𝑟𝑒𝑎〗_Analyte/〖𝐴𝑟𝑒𝑎〗_ISTD × 𝑉_(ISTD mix)/(𝑆𝑎𝑚𝑝𝑙𝑒 𝐴𝑚𝑜𝑢𝑛𝑡 ) ×𝑐_𝐼𝑆𝑇𝐷
where:
cAnalyte: Molar [M or µmol/µL] concentration of the analyte in the sample
AreaAnalyte: Peak area of Analyte,
AreaISTD: Peak area of ISTD,
VISTD mix: Extraction solvent volume (ISTD mixture)
Sample_Amount: Quantity of the sample (e.g. µL or mg)
cISTD: Concentration of the ISTD in the extraction solvent (ISTD mixture)

## Features (Analytes)
Feature_Name | ISTD_Feature_Name | Feature_Class | Analyte_Id | Chem_Formula | Molecular_Weight | New_Feature_Name | Response_Factor | Quantifier | Valid_Integration | Interference_Feature_Name | Interference_Proportion | Curve_Fit_Model | Curve_Fit_Weighting | Remarks

## Internal Standards
ISTD_Feature_Name | ISTD_Conc_[nM] | <== | ISTD_Conc_[ng/mL] | ISTD_[MW] | [uM] or [pmol/uL]

## Response Curves
Raw_Data_Filename | Response_Curve_Name | Analyzed_Amount | Analyzed_Amount_Unit
Description
- Response_Curve_Name defines the response curve name (ID)
- Relative_Sample_Amount_[%] defines the sample amount relative to the sample amount analyzed of the study samples in %

## QC Concentrations
Sample_Id | Analyte_Id | Concentration | Concentration_Unit | Include_In_Analysis | Remarks

## Help
Raw_Data_Filename | Mandatory field
Sample_Amount | Fields required for normalization, quantification and batch correction/visualization'
Feature_Class | Optional fields with annotations
Injection_Volume_[uL] | Internal/inactivated fields

## Lists
Sample_Type | Group | Name | Description | Sample_Amount_Unit | Concentration_Unit | Factor | Dilution_Amount_Unit
SPL | Unknown | Study Sample | "Unknown" sample | cell number | [M] or [umol/uL] | 1e-09 | [%]
EQC | Equilibration | Equilibration QC | Verification of Instrumental Equilibration | mg dry weight | [mM] or [nmol/uL] | 1e-06 | [uL]
SST | Quality Assurance | Instrument Suitability Test | Instrument Suitability Test | mg fresh weight | [uM] or [pmol/uL] | 0.001
BQC | Quality Assurance | Batch QC | Process/Pooled QC | ng DNA | [nM] or [fmol/uL] | 1
TQC | Quality Control | Techincal QC | Instrumental QC (System Suitability) | ug total protein | [pM] or [amol/uL] | 1000
RQC | Quality Control | Response QC | Dilution series to check for linear response/saturation (e.g. TQC) | uL
LTR | Sample Reference Material | Long Term Reference Plasma (with ISTD) | Long Term Reference Plasma (with ISTD)
NIST | Sample Reference Material | NIST SRM1950 Reference Plasma (with ISTD) | NIST SRM1950 Reference Plasma (with ISTD)
SRM | Sample Reference Material | Sample Reference Material | Sample Reference Material
PBLK | Blanks | Process/Batch Blank | Processed or Extracted solvent/buffers with ISTD
UBLK | Blanks | Unextracted Blank (Solvent with ISTD) | Unextracted Blank (Solvent with ISTD)
SBLK | Blanks | Solvent Blank | Unextracted solvent used for extraction (e.g. used for Solvent with ISTD mixture)
MBLK | Blanks | Matrix Blank | Sample processed without ISTD to check for interference of endogenous compounds
STD | Standard | Standard Sample Type | Standard Sample Type
LQQ | Others | Lower Limit of Quantitation QC | Lower Limit of Quantitation QC
CTRL |  | Control Sample Type | Control Sample Type
LTRBK | Sample Reference Material | Long Term Reference Plasma (without ISTD) | Long Term Reference Plasma (without ISTD)
NISTBK | Sample Reference Material | NIST SRM1950 Reference Plasma (without ISTD) | NIST SRM1950 Reference Plasma (without ISTD)
Others

## About
About MiDAR MSOrganiser Template |  | Do not modify row 1 and 3
Version | 0.2.5
Last Update | 05.06.2026
This file is intended to be used as metadata template for the 'mrmhub' R package
Get the newest version of this template from
https://github.com/SLINGhub/mrmhub/tree/development/inst/extdata
or via the MiDAR function | mrmhub::save_metadata_msorganizer_template()
References
This template is a modified version of "MSTemplate_Creator", created by Jeremy John Selva
https://github.com/SLINGhub/MSTemplate_Creator
Contact
Singapore Lipidomics Incubator @ National University of Singapore
https://github.com/SLINGhub/mrmhub